## Slide 1
Extend length of grounding bolt for DBD screen and XYZ stage/mounting rail
Possible location for detector board
(fits vertically)
Extend length of box to make room for heat sinks, internal HV power supply (currently 2cm2 plus transformer), and DBD transformer
Wire detector board to +/- 15V
Install Fan
Install Fan on this end as well
Extend height of box for cooling

## Slide 2
Will do some experiments to look at stand-alone instrument holding the DBD, FAIMS, and detector plate on second layer of box using this rail system as the basis

## Slide 3
Earlier stand-alone
experimental setup